Operation Directions Governing Management of Infectious Biological Materials, Ministry of Health and Welfare
Formulated and announced in 7 articles by the Ministry of Health and Welfare on 11 March 2014 under Bu-Shou-Chi Order No. 1030500105

Amended and announced in Article 3, Article 4 and Article 8 by the Ministry of Health and Welfare on 25 February 2015 under Bu-Shou-Chi Order No. 1040500092
Amended and announced by the Ministry of Health and Welfare on 13 December 2016 under Bu-Shou-Chi Order No. 1050500511
1.To assure the effectiveness of management of infectious biological materials and the biosafety and biosecurity of laboratories and storage facilities, this set of Operation Directions is specifically formulated to regulate the control, transportation and packing of infectious biological materials, the requirements of biosafety levels of laboratories, and levels and management of biosafety accidents in laboratories.

2.Infectious biological materials can be classified into the following three categories:

(1)infectious pathogens: refer to pathogenic microorganisms (such as bacteria, viruses, fungi, parasites, etc.) that may cause infections or diseases in humans, and their cultures (media);

(2)derivatives of pathogens: refer to the purified or isolated components of pathogens (such as nucleic acids, plasmids, proteins, etc.), or their secreted products (such as biotoxins);

(3)materials confirmed to contain pathogens or their derivatives: refer to positive specimens of patients of infectious diseases (such as blood, sputum, urine, etc.)
3.When the infectious biological materials are pathogens, they can be classified, by their pathogenicity, routes of transmission, types of hosts, and availability of preventive and treatment measures, into Risk Group 1 (RG1) through Risk Group 4 (RG4) pathogens. The list of pathogens by risk groups are provided in Appendix 1 through Appendix 4.

The vaccine strains that passed related tests are classified as RG2 pathogens; Lentiviral vectors shall be managed as RG2 pathogens.
4.The Entities shall manage positive specimens of communicable diseases through appropriate mechanisms. To possess, store, use, dispose, export or import positive specimens (except when deactivated) listed in Appendix 3 through Appendix 4 in laboratories or storage facilities, the specimens shall be packed in compliance with Packing Instruction P620 and they shall be managed as RG3 or above pathogens.
5.The infectious biological materials listed in Appendix 5 are biotoxins, which listed.
6.To transport the infectious biological materials, they should be adequately packed and labeled in compliance with the instructions outlined in Appendix 6 to avoid leakage in transit.

7.Laboratories are ranked based on the research or work being conducted and the type of personal protective equipment, safety equipment and facilities available from Biosafety level 1 (BSL-1) to Biosafety level 4 (BSL-4) pursuant to the regulations outlined in Appendix 7:

(1)BSL-1 laboratory: applies to laboratory setting where personnel work with infectious biological materials that are known not to cause diseases in humans;

(2)BSL-2 laboratory: applies to laboratory setting where personnel work with infectious biological materials that cause human diseases;

(3)BSL-3 laboratory: applies to laboratory setting where personnel work with infectious biological materials that may cause serious or potentially fatal human diseases;

(4)BSL-4 laboratory: applies to laboratory setting where personnel work with infectious biological materials that cause serious and fatal human diseases that are without vaccines or treatment measures.

8.Laboratories that conduct testing or research with animals. They are ranked based on the research or work being conducted , and the type of personal protective equipment, safety equipment and facilities available from Animal Biosafety level 1 (ABSL-1) through Animal Biosafety level 4 (ABSL-4) as pursuant to the regulation outlined in Appendix 8:

(1)ABSL-1 laboratory: applies to laboratory setting where personnel work with infectious biological materials for animal experiments that are known not to cause human diseases;

(2)ABSL-2 laboratory: applies to laboratory setting where personnel work with infectious biological materials for animal experiments that causes human diseases;
(3)ABSL-3 laboratory: applies to laboratory setting where personnel work with infectious biological materials for animal experiments that may causes serious or potentially fatal human diseases;

(4)ABSL-4 laboratory: applies to laboratory setting where personnel work with infectious biological materials for animal experiments that may causes serious or potentially fatal human diseases that are without vaccines or treatment measures.
9.Experiments that involve biotoxins shall be conducted in laboratory settings that conform to BSL-2 or above. Experiments that involve a large amount or high concentration of biotoxins that have been confirmed to pose high hazards by risk assessment shall be conducted in laboratory settings that conform to BSL-3 or above.
10.The risk levels of bio hazardous incidents or accidents that occur in laboratories and storage facilities are high, medium and low, depending on the range and degrees of the leakage of the involving infectious biological materials. Regulations governing the reporting, examples and management of bio hazardous incidents or biosafety accidents in laboratories and storage facilities at various levels of biosafety are provides in Appendix 9.
Appendix 1

List of Pathogens in Risk Group 1 (RG1)
	No.
	Items1,2
	Remark


	
	
	

	1
	Acinetobacter spp.
	

	2
	Actinoalloteichus spp.
	

	3
	Actinosynnema mirum
	

	4
	Adeno-associated virus (all serotypes) 腺相關病毒
	

	5
	Aeromicrobium spp.
	

	6
	Aeromonas spp.
	

	7
	Alicyclobacillus spp.
	

	8
	Alishewanella spp.
	

	9
	Alistipes onderdonkii
	

	10
	Anaerococcus hydrogendis
	

	11
	Anaerococcus tetradius
	

	12
	Aneurinibacillus spp.
	

	13
	Aquabacterium commune
	

	14
	Aquabacterium citratiphilum
	

	15
	Aquabacterium parvum
	

	16
	Aquaspirillum itersonii
	

	17
	Aquifex aeolicus
	

	18
	Aquifex pyrophilus
	

	19
	Arthrobacter globiformis
	

	20
	Aspergillus niger
	

	21
	Azomonas macrocytogenes
	

	22
	Bacillus choshinensis
	

	23
	Bacillus coagulans
	

	24
	Bacillus cohnii
	

	25
	Bacillus formosus
	

	26
	Bacillus parabrevis
	

	27
	Bacillus pumilus
	

	28
	Bacillus reuszeri
	

	29
	Bacillus thermocloacae
	

	30
	Bacteroides spp.
	

	31
	Blastomonas spp.
	

	32
	Brachybacterium spp.
	

	33
	Brochothrix spp.
	

	34
	Brevibacillus spp.
	

	35
	Brevibacterium spp.
	

	36
	Brevundimonas vesicularis
	

	37
	Buttiauxella agrestis
	

	38
	Butyrivibrio crossotus
	

	39
	Candida spp.
	

	40
	Candida spencermartinsiae
	

	41
	Candida taylori
	

	42
	Candida tenuis
	

	43
	Carnobacterium pisciola
	

	44
	Carnobacterium divergens
	

	45
	Caulobacter spp.
	

	46
	Cellulomonas cellulans
	

	47
	Clostridium spp.
	

	48
	Clostridium asparagiforme
	

	49
	Clostridium butyricum
	

	50
	Clostridium tetanomorphum
	

	51
	Clostridium tyrobutyricum
	

	52
	Collinsella intestinalis
	

	53
	Collinsella spp.
	

	54
	Collinsella stercoris
	

	55
	Comomonas acidovorans
	

	56
	Corynebacterium accolens
	

	57
	Corynebacterium afermentans
	

	58
	Corynebacterium argentoratense
	

	59
	Corynebacterium genitalium
	

	60
	Corynebacterium glutamicum
	

	61
	Corynebacterium macginleyi
	

	62
	Corynebacterium tuberculostearicum
	

	63
	Deinococcus spp.
	

	64
	Delftia spp.
	

	65
	Dermacoccus nishinomiyaensis
	

	66
	Desemzia spp.
	

	67
	Dietzia spp.
	

	68
	Dysgonomonas spp.
	

	69
	Escherichia blattae
	

	70
	Escherichia coli (non-pathogenic strains)大腸桿菌(非致病株)
	Escherichia coli K-12

	71
	Exiguobacterium spp.
	

	72
	Fibrobacter spp.
	

	73
	Filifactor spp.
	

	74
	Finegoldia spp.
	

	75
	Flavobacterium capsulatum
	

	76
	Flavobacterium psychrophilum
	

	77
	Fusobacterium prausnitzii
	

	78
	Glycomyces tenuis
	

	79
	Gracilibacillus spp.
	

	80
	Granulicatella spp.
	

	81
	Halobacterium salinarium
	

	82
	Helicobacter hepaticus
	

	83
	Helicobacter muridarum
	

	84
	Holdemania spp.
	

	85
	Hungatella hathewayi
	

	86
	Intrasporangium calvum
	

	87
	Klebsiella terrigena
	

	88
	Kocuria spp.
	

	89
	Kocuria rosea
	

	90
	Kurthia gibsonii
	

	91
	Kytococcus spp.
	

	92
	Lactobacillus leichmannii
	

	93
	Lactobacillus oris
	

	94
	Lactobacillus vaginalis
	

	95
	Lactococcus garvieae
	

	96
	Lactococcus lactis
	

	97
	Lautropia spp.
	

	98
	Lechevaliera spp.
	

	99
	Lentzia spp.
	

	100
	Leuconostoc spp.
	

	101
	Listeria innocua
	

	102
	Listeria welshimeri
	

	103
	Luteococcus spp.
	

	104
	Macrococcus spp.
	

	105
	Maricaulis spp.
	

	106
	Megamonas spp.
	

	107
	Methylobacterium amnivorans
	

	108
	Methylobacterium mesophilicum
	

	109
	Micrococcus diversus
	

	110
	Micrococcus luteus
	

	111
	Micrococcus roseus
	

	112
	Micromonas spp.
	

	113
	Micromonospora coerulea
	

	114
	Mycoplasma orale
	

	115
	Nesterenkonia spp.
	

	116
	Obesumbacterium proteus
	

	117
	Oerskovia spp.
	

	118
	Oligella ureolytica
	

	119
	Paracoccus spp.
	

	120
	Planobispora rosea
	

	121
	Pichia haplophila
	

	122
	Porphyromonas endodontalis
	

	123
	Porphyromonas gulae
	

	124
	Pragia fontium
	

	125
	Propioniferax spp.
	

	126
	Proteus myxofaciens
	

	127
	Pseudomonas spp.
	

	128
	Rhizopus microsporus
	

	129
	Rhodospirillum rubrum
	

	130
	Rickenella spp.
	

	131
	Ruminococcus spp.
	

	132
	Ruminococcus productus
	

	133
	Saccharomyces carlsbergensis
	

	134
	Saccharomyces pastorianus
	

	135
	Saccharothrix longispora
	

	136
	Saccharothrix mutabilis
	

	137
	Sanguibacter spp.
	

	138
	Schineria spp.
	

	139
	Schizosaccharomyces
	

	140
	Sebaldella spp.
	

	141
	Shewanella putrefaciens
	

	142
	Slackia spp.
	

	143
	Solobacterium spp.
	

	144
	Sporosarcina ureae
	

	145
	Staphylococcus carnosus
	

	146
	Staphylococcus lentus
	

	147
	Staphylococcus pulvereri
	

	148
	Stomatococcus spp.
	

	149
	Streptococcus salivarius subsp. thermophilus
	

	150
	Streptomyces albus
	

	151
	Streptomyces corchorusii
	

	152
	Streptomyces olivaceoviridis
	

	153
	Streptosporangium roseum
	

	154
	Tetragenococcus halophilus
	

	155
	Terracoccus spp.
	

	156
	Thermoanaerobacterium thermosaccharolyticum
	

	157
	Thermotoga maritima
	

	158
	Thermus spp.
	

	159
	Tissaracoccus spp.
	

	160
	Turicella otitidis
	

	161
	Vagococcus fluvialis
	

	162
	Vagococcus salmoninarum
	

	163
	Xenorhabdus nematophilus
	

	164
	Yersinia ruckeri
	

	165
	Zoogloea ramigera
	

	166
	Zygosaccharomyces bailii
	

	167
	Zygosaccharomyces rouxii
	


Note：

1. If the listed items correspond to the items in the “Quarantine Requirements for the Importation of Animals and Animal Products” of the Council of Agriculture, relevant regulations imposed by the Council of Agriculture also apply . 
2. The list items shall be packaged with international packaging instructions of exemptions which are outlined in Appendix 6. 
Appendix 2

List of Pathogens in Risk Group 2 (RG2)
	No.
	Items1
	International Packing Instructions 2
	Remark

	
	
	P620
	P650
	

	1
	Acanthamoeba spp.
	
	v
	

	2
	Acidovorax spp.
	
	v
	

	3
	Acinetobacter baumannii
	
	v
	previously named Acinetobacter calcoaceticus

	4
	Acinetobacter baumannii/calcoaceticus complex
	
	v
	

	5
	Acinetobacter johnsonii
	
	v
	

	6
	Acinetobacter lwoffii
	
	v
	

	7
	Acinetobacter lwoffii/haemolyticus
	
	v
	

	8
	Acremonium falciforme
	
	v
	

	9
	Acremonium kiliense
	
	v
	

	10
	Acremonium recifei
	
	v
	

	11
	Actinobacillus spp.
	
	v
	

	12
	Actinomyces pyogenes
	
	v
	previously named Corynebacterium pyogenes

	13
	Adenovirus
	
	v
	

	14
	Aerococcus urinae
	
	v
	

	15
	Aerococcus viridans
	
	v
	

	16
	Aeromonas caviae
	
	v
	

	17
	Aeromonas hydrophila
	
	v
	

	18
	Aeromonas salmonicida
	
	v
	

	19
	Aeromonas sobria
	
	v
	

	20
	Aeromonas veronii
	
	v
	

	21
	Aggregatibacter actinomycetemcomitans
	
	v
	previously named Actinobacillus actinomycetemcomitans、Haemophilus actinomycetemcomitans

	22
	Aggregatibacter aphrophilus
	
	v
	previously named Haemophilus aphrophilus

	23
	Aggregatibacter segnis
	
	v
	previously named Haemophilus segnis

	24
	Akabanevirus
	
	v
	

	25
	Alcaligenes faecalis
	
	v
	

	26
	Amycolata autotrophica
	
	v
	

	27
	Anaerococcus vaginalis
	
	v
	previously named  Peptostreptococcus vaginalis

	28
	Ancylostoma ceylanicum
	
	v
	

	29
	Ancylostoma duodenale
	
	v
	

	30
	Arcanobacterium haemolyticum
	
	v
	previously named Corynebacterium haemolyticum

	31
	Arizona hinshawii
	
	v
	

	32
	Ascaris spp.
	
	v
	

	33
	Ascaris lumbricoides
	
	v
	

	34
	Ascaris suum
	
	v
	

	35
	Aspergillus flavus
	
	v
	

	36
	Aspergillus fumigatus
	
	v
	

	37
	Aspergillus hongkongensis
	
	v
	

	38
	Babesia divergens
	
	v
	

	39
	Babesia microti
	
	v
	

	40
	Bacillus cereus
	
	v
	

	41
	Bacteroides capillosus
	
	v
	

	42
	Bacteroides eggerthii
	
	v
	

	43
	Bacteroides fragilis
	
	v
	

	44
	Bacteroides ovatus
	
	v
	

	45
	Bacteroides thetaiotaomicron
	
	v
	

	46
	Bacteroides ureolyticus
	
	v
	

	47
	Bacteroides vulgatus
	
	v
	

	48
	Bartonella spp.
	
	v
	

	49
	Bartonella bigemina
	
	v
	

	50
	Bartonella bovis
	
	v
	

	51
	Bartonella henselae
	
	v
	

	52
	Bartonella quintana
	
	v
	

	53
	Bartonella vinsonii
	
	v
	

	54
	Bebaru virus
	
	v
	

	55
	Bergeyella zoohelcum
	
	v
	

	56
	Blastomyces dermatitidis
	
	v
	

	57
	Bocavirus
	
	v
	

	58
	Bordetella spp.
	
	v
	

	59
	Bordetella bronchiseptica 
	
	v
	

	60
	Bordetella parapertussis
	
	v
	

	61
	Bordetella pertussis
	
	v
	

	62
	Borrelia spp.
	
	v
	

	63
	Borrelia burgdorferi
	
	v
	

	64
	Borrelia recurrentis
	
	v
	

	65
	Brevundimonas diminuta
	
	v
	

	66
	Brugia spp.
	
	v
	

	67
	Brugia malayi
	
	v
	

	68
	Brugia timori
	
	v
	

	69
	Buffalopox virus
	
	v
	

	70
	Bunyamwera virus
	
	v
	

	71
	Burkholderia spp.
	
	v
	Burkholderia mallei and Burkholderia pseudomallei are listed in RG3

	72
	Burkholderia cepacia
	
	v
	

	73
	Burkholderia gladioli
	
	v
	

	74
	Cache Valley virus 
	
	v
	

	75
	Calicivirus
	
	v
	

	76
	California encephalitis virus
	
	v
	

	77
	Campylobacter spp.
	
	v
	

	78
	Campylobacter coli
	
	v
	

	79
	Campylobacter fetus
	
	v
	

	80
	Campylobacter jejuni
	
	v
	

	81
	Candida albicans
	
	v
	

	82
	Candida glabrata
	
	v
	

	83
	Candida intermedia
	
	v
	

	84
	Candida krusei
	
	v
	

	85
	Candida lusitaniae
	
	v
	

	86
	Candida parapsilosis
	
	v
	

	87
	Candida sake
	
	v
	

	88
	Candida tropicalis
	
	v
	

	89
	Cedecea davisae
	
	v
	

	90
	Cedecea lapagei
	
	v
	

	91
	Cedecea neteri
	
	v
	

	92
	Cellulomonas hominis
	
	v
	

	93
	Chlamydophila pneumoniae
	
	v
	

	94
	Chlamydophila psittaci
	
	v
	avian strains are listed in RG3

	95
	Chlamydophila trachomatis
	
	v
	

	96
	Chromobacterium violaceum
	
	v
	

	97
	Chryseobacterium gleum
	
	v
	

	98
	Chryseobacterium indologenes
	
	v
	

	99
	Citrobacter spp.
	
	v
	

	100
	Citrobacter amalonaticus
	
	v
	

	101
	Citrobacter braakii
	
	v
	

	102
	Citrobacter diversus
	
	v
	

	103
	Citrobacter farmeri
	
	v
	

	104
	Citrobacter freundii
	
	v
	

	105
	Citrobacter koseri
	
	v
	

	106
	Citrobacter werkmanii
	
	v
	

	107
	Citrobacter youngae
	
	v
	

	108
	Cladosporium bantianum
	
	v
	

	109
	Cladosporium carrionii
	
	v
	

	110
	Cladosporium trichoides
	
	v
	

	111
	Clostridium argentinense3
	
	v
	

	112
	Clostridium baratii3
	
	v
	

	113
	Clostridium botulinum3
	v(cultures only)
	v
	

	114
	Clostridium butyricum(Toxigenic strain)3
	
	v
	

	115
	Clostridium cadaveris
	
	v
	

	116
	Clostridium chauvoei
	
	v
	

	117
	Clostridium clostridioforme
	
	v
	

	118
	Clostridium difficile
	
	v
	

	119
	Clostridium haemolyticum
	
	v
	

	120
	Clostridium histolyticum
	
	v
	

	121
	Clostridium novyi
	
	v
	

	122
	Clostridium perfringens
	
	v
	

	123
	Clostridium septicum
	
	v
	

	124
	Clostridium sporogenes
	
	v
	

	125
	Clostridium tetani
	
	v
	

	126
	Clostridium tertium
	
	v
	

	127
	Coccidia spp.
	
	v
	

	128
	Colorado tick fever virus
	
	v
	

	129
	Coltivirus
	
	v
	

	130
	Coronavirus
	
	v
	SARS Coronavirus and MERS Coronavirus are listed in RG3

	131
	Corynebacterium spp.
	
	v
	

	132
	Corynebacterium amycolatum
	
	v
	

	133
	Corynebacterium auris
	
	v
	

	134
	Corynebacterium bovis
	
	v
	

	135
	Corynebacterium diphtheriae
	
	v
	

	136
	Corynebacterium jeikeium
	
	v
	

	137
	Corynebacterium matruchotii
	
	v
	

	138
	Corynebacterium propinquum
	
	v
	

	139
	Corynebacterium pseudotuberculosis
	
	v
	

	140
	Corynebacterium pseudodiphtheriticum
	
	v
	

	141
	Corynebacterium renale
	
	v
	

	142
	Corynebacterium striatum
	
	v
	

	143
	Corynebacterium urealyticum
	
	v
	

	144
	Corynebacterium xerosis
	
	v
	

	145
	Cowpox virus
	
	v
	

	146
	Coxsackie virus
	
	v
	

	147
	Curtobacterium flaccumfaciens
	
	v
	

	148
	Cryptococcus neoformans
	
	v
	

	149
	Cryptococcus grubii 
	
	v
	

	150
	Cryptococcus gatti
	
	v
	

	151
	Cryptosporidium spp.
	
	v
	

	152
	Cryptosporidium parvum
	
	v
	

	153
	Cysticercus cellulosae
	
	v
	

	154
	Cytomegalovirus
	
	v
	abbreviated as CMV

	155
	Dengue virus (serotypes 1, 2, 3, 4)
	v(cultures only)
	v
	

	156
	Dermatophilus congolensis
	
	v
	

	157
	Echinococcus granulosis
	
	v
	

	158
	Echinococcus multilocularis
	
	v
	

	159
	Echinococcus vogeli
	
	v
	

	160
	Echo virus
	
	v
	

	161
	Edwardsiella tarda
	
	v
	

	162
	Eikenella corrodens
	
	v
	

	163
	Elephantpox virus
	
	v
	

	164
	Elizabethkingia meningoseptica
	
	v
	abbreviated as Chryseobacterium meningosepticum

	165
	Empedobacter brevis
	
	v
	

	166
	Entamoeba histolytica
	
	v
	

	167
	Enterobacter spp.
	
	v
	

	168
	Enterobacter aerogenes
	
	v
	

	169
	Enterobacter asburiae
	
	v
	

	170
	Enterobacter cancerogenus
	
	v
	

	171
	Enterobacter cloacae
	
	v
	

	172
	Enterobacter gergoviae
	
	v
	

	173
	Enterobacter hormaechei
	
	v
	

	174
	Enterobacter sakazakii
	
	v
	

	175
	Enterobius spp.
	
	v
	

	176
	Enterococcus spp.
	
	v
	

	177
	Enterococcus avium
	
	v
	

	178
	Enterococcus casseliflavus
	
	v
	previously named Streptococcus casseliflavus

	179
	Enterococcus dispar
	
	v
	

	180
	Enterococcus durans
	
	v
	

	181
	Enterococcus faecalis
	
	v
	

	182
	Enterococcus faecium
	
	v
	

	183
	Enterococcus flavescens
	
	v
	

	184
	Enterococcus gallinarum
	
	v
	previously named Streptococcus gallinarum

	185
	Enterococcus hirae
	
	v
	

	186
	Enterococcus raffinosus 
	
	v
	

	187
	Enterovirus
	
	v
	

	188
	Epidermophyton spp.
	
	v
	

	189
	Epidermophyton floccosum
	
	v
	

	190
	Epstein-Barr virus
	
	v
	abbreviated as EBV

	191
	Erysipelothrix rhusiopathiae
	
	v
	

	192
	Escherichia coli
	v(only cultures of enterotoxigenic E.coli)
	v
	all enteropathogenic, enterotoxigenic, enteroinvasive and strains bearing K1 antigen, including E. coli O157:H7

	193
	Escherichia fergusonii
	
	v
	

	194
	Escherichia hermannii
	
	v
	

	195
	Escherichia vulneris
	
	v
	

	196
	Exophiala castellanii
	
	v
	

	197
	Exophiala dermatitidis
	
	v
	

	198
	Exophiala mansonii
	
	v
	

	199
	Exophiala spinifera
	
	v
	

	200
	Fasciola spp.
	
	v
	

	201
	Fasciola gigantica
	
	v
	

	202
	Fasciola hepatica
	
	v
	

	203
	Fonsecaea pedrosoi
	
	v
	

	204
	Fusarium moniliforme
	
	v
	

	205
	Fusobacterium spp.
	
	v
	

	206
	Fusobacterium necrogenes
	
	v
	

	207
	Fusobacterium nucleatum
	
	v
	

	208
	Gardnerella vaginalis
	
	v
	

	209
	Gemella morbillorum
	
	v
	

	210
	Giardia spp.
	
	v
	

	211
	Giardia lamblia
	
	v
	

	212
	Haemophilus spp.
	
	v
	

	213
	Haemophilus aegyptius
	
	v
	

	214
	Haemophilus ducreyi
	
	v
	

	215
	Haemophilus influenzae
	
	v
	

	216
	Haemophilus parainfluenzae
	
	v
	

	217
	Hafnia alvei
	
	v
	

	218
	Hazara virus
	
	v
	

	219
	Helicobacter pylori
	
	v
	

	220
	Hepatitis A virus
	
	v
	

	221
	Hepatitis B virus B型肝炎病毒
	v(cultures only)
	v
	

	222
	Hepatitis C virus 
	
	v
	

	223
	Hepatitis D virus
	
	v
	

	224
	Hepatitis E virus
	
	v
	

	225
	Herpes simplex viruses (Type 1, 2)
	
	v
	

	226
	Herpesvirus
	
	v
	Herpesvirus simiae are listed in RG4

	227
	Herpesvirus zoster
	
	v
	

	228
	Heterophyes spp.
	
	v
	

	229
	Human B lymphotropic virus
	
	v
	

	230
	Human herpesvirus (Type 6, 7,8)
	
	v
	

	231
	Human metapneumovirus
	
	v
	

	232
	Human rhinovirus 
	
	v
	

	233
	Hymenolepis spp.
	
	v
	

	234
	Hymenolepis diminuta
	
	v
	

	235
	Hymenolepis nana 
	
	v
	

	236
	Influenza virus (Type A, B, C)
	
	v
	H1N1、H5N2、H6N1 are listed in RG2。H5N1 and H7N9 are listed in RG3。

	237
	Influenza virus type A（subtype H5N1 vaccine strain）
	
	v
	

	238
	Influenza virus type A（subtype H7N9 vaccine strain）
	
	v
	

	239
	Isospora spp.
	
	v
	

	240
	Japanese encephalitis virus
	v(cultures only)
	v
	

	241
	Kingella spp.
	
	v
	

	242
	Kingella denitrificans
	
	v
	

	243
	Klebsiella spp.
	
	v
	Klebsiella terrigena are listed in RG1

	244
	Klebsiella oxytoca
	
	v
	

	245
	Klebsiella ozaenae
	
	v
	

	246
	Klebsiella pneumoniae
	
	v
	

	247
	Kluyvera ascorbata
	
	v
	

	248
	Kluyvera cryocrescens
	
	v
	

	249
	Kluyvera intermedia
	
	v
	also known as Enterobacter intermedius

	250
	Leclercia adecarboxylata
	
	v
	

	251
	Legionella spp.
	
	v
	

	252
	Legionella pneumophila
	
	v
	

	253
	Legionella anisa
	
	v
	

	254
	Legionella birminghamensis
	
	v
	

	255
	Legionella bozemanii
	
	v
	

	256
	Legionella cincinnatiensis
	
	v
	

	257
	Legionella feeleii
	
	v
	

	258
	Legionella hackeliae
	
	v
	

	259
	Legionella jordanis
	
	v
	

	260
	Legionella lansingensis
	
	v
	

	261
	Legionella longbeachae
	
	v
	

	262
	Legionella parisiensis
	
	v
	

	263
	Legionella sainthelensi
	
	v
	

	264
	Legionella tucsonensis 
	
	v
	

	265
	Legionella wadsworthii
	
	v
	

	266
	Leishmania spp.
	
	v
	

	267
	Leishmania braziliensis
	
	v
	

	268
	Leishmania donovani
	
	v
	

	269
	Leishmania ethiopia
	
	v
	

	270
	Leishmania major
	
	v
	

	271
	Leishmania Mexicana
	
	v
	

	272
	Leishmania peruvania
	
	v
	

	273
	Leishmania tropica
	
	v
	

	274
	Leptospira interrogans (all serotypes)
	
	v
	

	275
	Listeria ivanovii
	
	v
	

	276
	Listeria monocytogenes
	
	v
	

	277
	Loa Loa
	
	v
	

	278
	Lymphocytic choriomeningitis virus (non-neurotropic strains)
	
	v
	

	279
	Mannheimia spp.
	
	v
	

	280
	Mannheimia glucosidal
	
	v
	

	281
	Mannheimia granulomatis
	
	v
	

	282
	Mannheimia haemolytica
	
	v
	

	283
	Mannheimia ruminalis
	
	v
	

	284
	Mannheimia varigena
	
	v
	

	285
	Measles virus
	
	v
	

	286
	Microsporum spp.
	
	v
	

	287
	Milker's node virus
	
	v
	

	288
	Moellerella wisconsensis
	
	v
	

	289
	Moraxella spp.
	
	v
	

	290
	Moraxella catarrhalis
	
	v
	also known as Branhamalla catarrhalis

	291
	Morganella morganii
	
	v
	

	292
	Mumps virus
	
	v
	

	293
	Murine leukemia virus (包括amphotropic strain及xenotropic strain)
	
	v
	

	294
	Mycobacterium spp.
	
	v
	M. tuberculosis complex（including M. tuberculosis、M. bovis） are listed in RG3。

	295
	Mycobacterium avium complex
	
	v
	

	296
	Mycobacterium asiaticum
	
	v
	

	297
	Mycobacterium bovis BCG vaccine strain
	
	v
	

	298
	Mycobacterium chelonae
	
	v
	

	299
	Mycobacterium fortuitum
	
	v
	

	300
	Mycobacterium kansasii
	
	v
	

	301
	Mycobacterium leprae
	
	v
	

	302
	Mycobacterium malmoense
	
	v
	

	303
	Mycobacterium marinum
	
	v
	

	304
	Mycobacterium avium subsp. paratuberculosis
	
	v
	previously named Mycobacterium paratuberculosis

	305
	Mycobacterium scrofulaceum
	
	v
	

	306
	Mycobacterium simiae
	
	v
	

	307
	Mycobacterium szulgai
	
	v
	

	308
	Mycobacterium ulcerans
	
	v
	

	309
	Mycobacterium xenopi
	
	v
	

	310
	Mycoplasma caviae
	
	v
	

	311
	Mycoplasma fermentans
	
	v
	

	312
	Mycoplasma genitalium
	
	v
	

	313
	Mycoplasma hominis
	
	v
	

	314
	Mycoplasma penetrans
	
	v
	

	315
	Mycoplasma pneumoniae
	
	v
	

	316
	Mycoplasma primatum
	
	v
	

	317
	Mycoplasma salivarium
	
	v
	

	318
	Myroides odoratus
	
	v
	

	319
	Naegleria fowleri
	
	v
	

	320
	Necator spp.
	
	v
	

	321
	Necator americanus
	
	v
	

	322
	Neisseria spp.
	
	v
	

	323
	Neisseria gonorrhoeae
	
	v
	

	324
	Neisseria lactamica
	
	v
	

	325
	Neisseria meningitidis
	
	v
	

	326
	Newcastle disease virus
	
	v
	

	327
	Nocardia spp.
	
	v
	

	328
	Nocardia asteroides
	
	v
	

	329
	Nocardia brasiliensis
	
	v
	

	330
	Nocardia otitidiscaviarum
	
	v
	

	331
	Nocardia transvalensis
	
	v
	

	332
	Norovirus
	
	v
	

	333
	Ochrobactrum anthropi
	
	v
	

	334
	Ochroconis gallopava
	
	v
	previously named Dactylaria galopava

	335
	Olsenella uli
	
	v
	previously named Lactobacillus uli

	336
	Onchocerca spp.
	
	v
	

	337
	Onchocerca volvulus
	
	v
	

	338
	O'Nyong-Nyong virus
	
	v
	

	339
	Orbivirus
	
	v
	

	340
	Orf virus
	
	v
	

	341
	Paenibacillus popilliae
	
	v
	

	342
	Pantoea agglomerans
	
	v
	

	343
	Papillomavirus
	
	v
	

	344
	Paracoccidioides brasiliensis
	
	v
	

	345
	Parainfluenza virus (Type 1, 2, 3, 4)
	
	v
	

	346
	Human Parvovirus (B19)
	
	v
	

	347
	Pasteurella spp.
	
	v
	Pasteurella multocida（including type B -"buffalo" and other virulent strains）are listed in RG3

	348
	Penicillium marneffei
	
	v
	

	349
	Peptostreptococcus spp.
	
	v
	

	350
	Peptostreptococcus anaerobius
	
	v
	

	351
	Phialophora verrucosa
	
	v
	

	352
	Photobacterium damsela
	
	v
	

	353
	Plasmodium cynomologi
	
	v
	

	354
	Plasmodium falciparum惡性瘧原蟲
	
	v
	

	355
	Plasmodium knowlesi
	
	v
	

	356
	Plasmodium malariae
	
	v
	

	357
	Plasmodium ovale
	
	v
	

	358
	Plasmodium vivax
	
	v
	

	359
	Plesiomonas shigelloides
	
	v
	

	360
	Poliovirus (attenuated strain)
	
	v
	

	361
	Poliovirus(vaccine like strain)
	
	v
	

	362
	Porphyromonas asaccharolytica
	
	v
	

	363
	Porphyromonas gingivalis
	
	v
	

	364
	Prevotella spp.
	
	v
	

	365
	Prevotella bivia
	
	v
	

	366
	Prevotella buccae
	
	v
	

	367
	Prevotella melaninogenica
	
	v
	

	368
	Prevotella oralis
	
	v
	

	369
	Propionibacterium acnes
	
	v
	

	370
	Prospect Hill virus
	
	v
	

	371
	Proteus spp.
	
	v
	

	372
	Proteus mirabilis
	
	v
	

	373
	Proteus penneri
	
	v
	

	374
	Proteus vulgaris
	
	v
	

	375
	Providencia spp.
	
	v
	

	376
	Providencia alcalifaciens
	
	v
	

	377
	Providencia rettgeri
	
	v
	

	378
	Providencia stuartii
	
	v
	

	379
	Pseudallescheria boydii
	
	v
	

	380
	Pseudomonas aeruginosa
	
	v
	

	381
	Pseudomonas alcaligenes
	
	v
	

	382
	Pseudomonas fluorescens
	
	v
	

	383
	Pseudomonas luteola
	
	v
	

	384
	Pseudomonas oryzihabitans
	
	v
	

	385
	Rabbitpox virus
	
	v
	

	386
	Rabies virus (all strain)
	v(cultures only)
	v
	

	387
	Respiratory syncytial virus
	
	v
	abbreviated as RSV

	388
	Rhinovirus
	
	v
	

	389
	Rhodococcus equi
	
	v
	

	390
	Rift Valley Fever/ Zinga virus vaccine strain MP-12
	
	v
	

	391
	Ross river virus
	
	v
	

	392
	Rotavirus
	
	v
	

	393
	Rubella virus
	
	v
	

	394
	Rubivirus
	
	v
	

	395
	Salmonella spp.
	
	v
	

	396
	Salmonella arizonae
	
	v
	

	397
	Salmonella cholerasuis
	
	v
	

	398
	Salmonella enteritidis
	
	v
	

	399
	Salmonella gallinarum-pullorum
	
	v
	

	400
	Salmonella meleagridis
	
	v
	

	401
	Salmonella paratyphi (Type A, B, C)
	
	v
	

	402
	Salmonella typhi
	
	v
	

	403
	Salmonella typhimurium
	
	v
	

	404
	Sandfly fever virus
	
	v
	

	405
	Sarcocystis spp.
	
	v
	

	406
	Sarcocystis suihominis
	
	v
	

	407
	Scedosporium prolificans
	
	v
	

	408
	Schistosoma spp.
	
	v
	

	409
	Schistosoma haematobium
	
	v
	

	410
	Schistosoma intercalatum
	
	v
	

	411
	Schistosoma japonicum
	
	v
	

	412
	Schistosoma mansoni
	
	v
	

	413
	Schistosoma mekongi
	
	v
	

	414
	Serratia liquefaciens
	
	v
	

	415
	Serratia marcescens
	
	v
	

	416
	Serratia rubidaea
	
	v
	

	417
	Shewanella algae
	
	v
	

	418
	Shigella spp.
	
	v
	

	419
	Shigella boydii
	
	v
	

	420
	Shigella dysenteriae
	v(only cultures of Type 1)
	v
	

	421
	Shigella flexneri
	
	v
	

	422
	Shigella sonnei
	
	v
	

	423
	Sindbis virus
	
	v
	

	424
	Sphaerophorus necrophorus
	
	v
	

	425
	Sphingobacterium multivorum
	
	v
	

	426
	Sphingobacterium spiritivorum
	
	v
	

	427
	Sphingobacterium thalpophilum
	
	v
	previously named Flavobacterium thalpophilum

	428
	Sphingomonas paucimobilis
	
	v
	

	429
	Sphingomonas yanoikuyae
	
	v
	

	430
	Sporothrix schenckii
	
	v
	

	431
	Staphylococcus aureus金黃色葡萄球菌
	
	v
	

	432
	Staphylococcus caprae
	
	v
	

	433
	Staphylococcus epidermidis
	
	v
	

	434
	Staphylococcus haemolyticus
	
	v
	

	435
	Staphylococcus hyicus
	
	v
	

	436
	Staphylococcus intermedius
	
	v
	

	437
	Staphylococcus lugdunensis
	
	v
	

	438
	Staphylococcus saprophyticus
	
	v
	

	439
	Stenotrophomonas maltophilia
	
	v
	

	440
	Streptobacillus moniliformis
	
	v
	

	441
	Streptococcus spp.
	
	v
	

	442
	Streptococcus acidominimus
	
	v
	

	443
	Streptococcus agalactiae
	
	v
	

	444
	Streptococcus anginosus
	
	v
	

	445
	Streptococcus bovis
	
	v
	

	446
	Streptococcus canis
	
	v
	

	447
	Streptococcus constellatus
	
	v
	

	448
	Streptococcus difficilis
	
	v
	

	449
	Streptococcus dysgalactiae
	
	v
	

	450
	Streptococcus equinus
	
	v
	

	451
	Streptococcus equi
	
	v
	

	452
	Streptococcus gallolyticus
	
	v
	

	453
	Streptococcus iniae
	
	v
	

	454
	Streptococcus intermedius
	
	v
	

	455
	Streptococcus mitis
	
	v
	

	456
	Streptococcus mutans
	
	v
	

	457
	Streptococcus oralis
	
	v
	

	458
	Streptococcus parasanguinis
	
	v
	

	459
	Streptococcus phocae
	
	v
	

	460
	Streptococcus pneumoniae
	
	v
	

	461
	Streptococcus porcinus
	
	v
	

	462
	Streptococcus pyogenes
	
	v
	

	463
	Streptococcus salivarius
	
	v
	Not including Streptococcus salivarius subsp. thermophilus (previously named Streptococcus thermophilus)

	464
	Streptococcus sanguinis
	
	v
	

	465
	Streptococcus sobrinus
	
	v
	

	466
	Streptococcus somaliensis
	
	v
	

	467
	Streptococcus suis
	
	v
	

	468
	Streptococcus uberis
	
	v
	

	469
	Strongyloides spp.
	
	v
	

	470
	Strongyloides stercoralis
	
	v
	

	471
	Swine vesicular disease virus
	
	v
	

	472
	Tacaribe virus complex
	
	v
	

	473
	Tannerella forsythia
	
	v
	previously named Bacteroides forsythus

	474
	Tatlockia maceachernii
	
	v
	

	475
	Tatlockia micdadei
	
	v
	

	476
	Tick-borne orthomyxovirus
	
	v
	

	477
	Toscana virus
	
	v
	

	478
	Toxocara spp.
	
	v
	

	479
	Toxocara canis
	
	v
	

	480
	Toxoplasma spp.
	
	v
	

	481
	Toxoplasma gondii
	
	v
	

	482
	Treponema carateum
	
	v
	

	483
	Treponema denticola
	
	v
	

	484
	Treponema pallidum
	
	v
	

	485
	Trichinella spp.
	
	v
	

	486
	Trichinella spiralis
	
	v
	

	487
	Trichophyton spp.
	
	v
	

	488
	Trypanosoma spp.
	
	v
	

	489
	Trypanosoma brucei brucei
	
	v
	

	490
	Trypanosoma brucei gambiense
	
	v
	

	491
	Trypanosoma brucei rhodesiense
	
	v
	

	492
	Trypanosoma cruzi
	
	v
	

	493
	Vaccinia virus
	
	v
	

	494
	Varicella zoster virus
	
	v
	

	495
	Venezuelan equine encephalomyelitis virus vaccine strain TC-83
	
	v
	

	496
	Vesicular stomatitis virus (實驗室馴化株，包括VSV-Indiana, San Juan, Glasgow)
	
	v
	

	497
	Vibrio spp.
	
	v
	

	498
	Vibrio alginolyticus
	
	v
	

	499
	Vibrio cholerae
	
	v
	

	500
	Vibrio cincinnatiensis
	
	v
	

	501
	Vibrio fluvialis
	
	v
	

	502
	Vibrio furnissii
	
	v
	

	503
	Vibrio hollisae
	
	v
	

	504
	Vibrio mimicus
	
	v
	

	505
	Vibrio parahaemolyticus
	
	v
	

	506
	Vibrio vulnificus
	
	v
	

	507
	Vittaforma cornea
	
	v
	

	508
	Wuchereria bancrofti filaria worms
	
	v
	

	509
	Yabapox virus (Tana and Yaba)
	
	v
	

	510
	Yellow fever virus vaccine strain 17D
	
	v
	

	511
	Yersinia spp.
	
	v
	

	512
	Yersinia enterocolitica
	
	v
	

	513
	Yersinia intermedia
	
	v
	

	514
	Yersinia pseudotuberculosis
	
	v
	

	515
	Yokenella regensburgei
	
	v
	previously named koserella trabulsii

	516
	Zika virus
	
	v
	


Note：

1. If the listed items correspond to the items in the “Quarantine Requirements for the Importation of Animals and Animal Products” of the Council of Agriculture, relevant regulations imposed by the Council of Agriculture also apply .

2. International packaging instructions P620 and P650 are outlined in Appendix 6.
3. Botulinum neurotoxin producing species of Clostridium(such as C. botulinum、C. barbatii、C. butyricum，part of C. argentinense); Toxigenic strain shall follow the management rules of select agents.
Appendix 3

List of Pathogens in Risk Group 3 (RG3)
	No.
	Items1
	International Packing Instructions2
	Remark

	
	
	P620
	P650
	

	1
	Bacillus anthracis4
	v(cultures)
	v
	


	2
	Bovine spongiform encephalopathy (prion)
	
	v
	abbreviated as BSE

	3
	Brucella spp.
	v(only cultures of B. melitensis)
	v
	

	4
	Brucella abortus4
	v(cultures)
	v
	

	5
	Brucella canis
	
	v
	

	6
	Brucella melitensis4
	v(cultures)
	v
	

	7
	Brucella suis4
	v(cultures)
	v
	

	8
	Burkholderia mallei4
	v(cultures)
	v
	previously named Pseudomonas mallei

	9
	Burkholderia pseudomallei4
	v(cultures)
	v
	previously named Pseudomonas pseudomallei

	10
	Chlamydophia psittaci (avian strains)
	v(cultures)
	v
	

	11
	Chikungunya virus
	
	v
	

	12
	Coccidioides immitis
	v(cultures)
	v
	

	13
	Coxiella burnetii4
	v(cultures)
	v
	

	14
	Creutzfeldt-Jacob disease (prion)
	
	v
	abbreviated as CJD

	15
	Eastern equine encephalomyelitis virus4
	v(cultures)
	v
	abbreviated as EEEV

	16
	Everglade virus
	
	v
	

	17
	Fatal Familial Insomnia (prion)
	
	v
	abbreviated as FFI

	18
	Flexal virus 
	v3
	
	

	19
	Francisella tularensis4
	v(cultures)
	v
	

	20
	Gerstmann-Straussler-Scheinker syndrome (prion)
	
	v
	

	21
	Hanta virus 
	v(cause HFRS)
	v
	

	22
	Hantaan virus 
	v3
	
	cause Korean hemorrhagic fever（Korean haemorrhagic fever）

	23
	Histoplasma capsulatum
	
	v
	

	24
	Histoplasma duboisii
	
	v
	

	25
	Human Immunodeficiency virus (Type 1, 2) 人類免疫缺乏病毒第一型及第二型
	v(cultures)
	v
	abbreviated as HIV

	26
	Human T-cell lymphotropic viruses (Type 1, 2)
	
	v
	abbreviated as HTLV

	27
	Influenza A virus (H5N1, H7N9) 4
	v(cultures)
	v
	

	28
	Influenza virus type A（subtype H7N9 candidate vaccine virus）
	v(cultures)
	v
	

	29
	influenza virus(human H2N2 (1957-1968))
	v(cultures)
	v
	

	30
	Influenza viruses 1918-1919 H1N1 (1918 H1N1) 4
	v(cultures)
	v
	


	31
	Kuru (Prion)
	
	v
	

	32
	Louping ill virus
	
	v
	

	33
	Lymphocytic choriomeningitis virus (neurotropic strains)
	
	v
	abbreviated as LCMV

	34
	Mayaro virus
	
	v
	

	35
	Middle East Respiratory Syndrome Coronavirus
	
	v
	abbreviated as MERS-CoV

	36
	Monkeypox virus4 
	v3
	
	

	37
	Mopeia virus
	
	v
	

	38
	Mucambo virus
	
	v
	

	39
	Murray Valley encephalitis
	
	v
	

	40
	Mycobacterium bovis
	
	v
	BCG vaccine strain are listed in RG2

	41
	Mycobacterium tuberculosis結核分枝桿菌
	v(cultures)
	v
	

	42
	Mycobacterium tuberculosis complex
	v(cultures)
	v
	

	43
	Nairobi Sheep Disease
	
	v
	

	44
	Ndumu virus
	
	v
	

	45
	Oropouche virus
	
	v
	

	46
	Pasteurella multocida (Type B "buffalo"和其他毒性株)
	
	v
	

	47
	Poliovirus (wild strain)
	v(cultures)
	v
	

	48
	Poliovirus(vaccine derived strain ,VDPV)
	v(cultures)
	v
	

	49
	Powassan virus
	
	v
	

	50
	Puumala virus
	
	v
	

	51
	Rickettsia spp.
	
	v
	

	52
	Rickettsia akari
	
	v
	

	53
	Rickettsia australis
	
	v
	

	54
	Rickettsia Canada
	
	v
	

	55
	Rickettsia conorii
	
	v
	

	56
	Rickettsia prowazakii
	v(cultures)
	v
	

	57
	Rickettsia rickettsii4
	v(cultures)
	v
	

	58
	Rickettsia siberica
	
	v
	

	59
	Rickettsia tsutsugamushi
	
	v
	scientific name is Orientia sutsugamushi

	60
	Rickettsia typhi (R. mooseri)
	
	v
	

	61
	Rift Valley fever virus4
	v(cultures)
	v
	1.Zinga virus is one of the strains。

2.vaccine strain is listed in RG2。

	62
	Rocio virus
	
	v
	

	63
	SARS-associated coronavirus4
	
	v
	abbreviated as SARS-CoV

	64
	Semliki forest virus
	
	v
	

	65
	Seoul virus
	
	v
	

	66
	Simian immunodeficiency virus
	
	v
	abbreviated as SIV

	67
	St. Louis encephalitis virus
	
	v
	

	68
	Tonate virus
	
	v
	

	69
	Variant Creutzfeldt-Jacob disease (Prion)
	
	v
	abbreviated as vCJD

	70
	Venezuelan equine encephalitis virus4
	v(cultures)
	v
	

	71
	Vesicular stomatitis virus
	
	v
	laboratory adapted strains including VSV Indiana、San Juan、Glasgow are listed in RG2。

	72
	Wesselsbron virus
	
	v
	

	73
	West Nile virus
	v(cultures)
	v
	

	74
	Western equine encephalomyelitis virus
	
	v
	

	75
	Yellow fever virus (wild strain)
	v(cultures)
	v
	

	76
	Yersinia pestis4
	v(cultures)
	v
	


Note：

1. If the listed items correspond to the items in the “Quarantine Requirements for the Importation of Animals and Animal Products” of the Council of Agriculture, relevant regulations imposed by the Council of Agriculture also apply .
2. International packaging rules P620 and P650 are outlined in Appendix 6.
3. Uses, disposes, exports and imports positive specimens confirmed to contain the pathogen shall follow the management rules as RG3 pathogens.
4. Shall follow the management rules of select agents.
Appendix 4

List of Pathogens in Risk Group 4 (RG4)
	No.
	Items1
	International Packing Instructions 2
	Remark

	
	
	P620
	P650
	

	1
	Absettarov3
	v(cultures)
	v
	

	2
	Central European encephalitis3
	v(cultures)
	v
	

	3
	Chapare virus5
	v
	
	

	4
	Crimean-Congo hemorrhagic fever virus5
	v
	
	

	5
	Ebola virus伊波拉病毒5
	v4
	
	

	6
	Guanarito virus5
	v4
	
	

	7
	Hanzalova3
	v(cultures)
	v
	

	8
	Hendra virus5 
	v4
	
	previously named Equine morbillivirus

	9
	Herpesvirus simiae (Herpes B or Monkey B virus) 5
	v(cultures)
	v
	

	10
	Hypr virus3
	v(cultures)
	v
	

	11
	Junin virus5
	v4
	
	

	12
	Kumlinge virus3
	v
	
	

	13
	Kyasanur forest disease virus3
	v4
	
	

	14
	Lassa virus
	v4
	
	

	15
	Lujo virus
	v
	
	

	16
	Machupo virus
	v4
	
	

	17
	Marburg virus
	v4
	
	

	18
	Nipah virus 
	v
	
	

	19
	Omsk hemorrhagic fever virus3,5
	v4
	
	

	20
	Russian spring-summer encephalitis virus3
	v(cultures)
	v
	

	21
	Sabia virus5
	v4
	
	

	22
	Tick-borne encephalitis virus complex5
	v(cultures)
	
	

	23
	Variola (major and minor) virus天花病毒5
	v4
	
	

	24
	Whitepox (Variola)
	v
	
	


Note：

1. If the listed items correspond to the items in the “Quarantine Requirements for the Importation of Animals and Animal Products” of the Council of Agriculture, relevant regulations imposed by the Council of Agriculture also apply .
2. International packaging instructions P620 and P650 are outlined in Appendix 6.
3. Belonging to tick-borne encephalitis virus complex.
4. Uses, disposes, exports and imports positive specimens confirmed to contain the pathogen shall follow the management rules as RG4 pathogens.

5. Shall follow the management rules of select agents.

Appendix 5 
Lists of biotoxins
	No.
	Items
	International Packing Instructions 1
	Remark

	
	
	P620
	P650
	

	1
	Botulinum neurotoxins肉毒桿菌神經毒素2
	v
	
	

	2
	Cholera toxin霍亂毒素
	
	v
	

	3
	Clostridium perfringens toxins
	
	v
	

	4
	Corynebacterium diphtheriae toxin
	
	v
	

	5
	Diacetoxyscirpenol2
	v
	
	

	6
	mycotoxin
	
	v
	

	7
	Pertussis toxin
	
	v
	

	8
	Shiga toxin；shiga-like toxins
	
	v
	

	9
	Staphylococcus aureus toxins
	
	v
	

	10
	Staphylococcal enterotoxins(Subtypes：A、B、C、D 及 E) 2
	v
	
	

	11
	T-2 toxin2
	v
	
	

	12
	Tetanus toxin
	
	v
	

	13
	Verotoxin
	
	v
	

	14
	Verruculogen
	
	v
	


1. International packaging rules P620 and P650 are outlined in Appendix 6.
2. Shall follow the management rules of select agents.
Appendix 6

Triple Packaging Instruction of Infectious Materials
	       International Packaging Instructions 
Items
	P620
	P650
	Exemptions

	Primary（major）container
	Yes（leakproof）
	Yes（leakproof）
	Yes（leakproof）

	Secondary container
	Yes（leakproof）
	Yes（leakproof）
	Yes（leakproof）

	Outer packaging
	Yes
	Yes
	Yes

	An absorbent material between the primary container(s) and the secondary one(s)
	Yes
	Yes
	Yes

	Drop test from 1.2 m(completed package)
	－
	Pass
	－

	Drop test from 9 m（secondary container）
	Pass
	－
	－

	Puncture test at 7 Kg（secondary container）
	Pass
	－
	－

	Pressure test at 95 KPa（primary or secondary container）
	Pass
	Pass
	－



	Fig 1. P620

[image: image1]
	Fig 2. P650

[image: image2]

	Fig 3. Exemptions

[image: image3]
	


Note：Pathogens derivatives, such as nucleic acids, proteins and the like (excluding biotoxin), meet the packaging instructions of exemptions.
Appendix 7
Biosafety Levels Provisions for Laboratory
	Items

BSL
	Practices
	Personal Protective Equipment and 

Safety Equipment
	Facilities

	1
	Standard microbiological practices
	1. No primary barriers required.

2. PPE: Laboratory coats, gloves, eye and face protection, as needed
	Laboratory bench and sink required

	2
	BSL-1 practice plus: 

1. Limited access

2. Biohazard warning signs

3. “Sharps” precautions

4. Biosafety manual defining any needed waste decontamination or medical surveillance policies
	1. Primary barriers: BSCs or other physical containment devices used for manipulations of agents that cause splashes or aerosols of infectious materials

2. PPE: Laboratory coats, gloves, eye and face protection, as needed
	BSL-1 plus:

Autoclave available

	3
	BSL-2 practice plus:

1. Controlled access

2. Decontamination of all waste

3. Decontamination of laboratory clothing before laundering
	1. Primary barriers: BSCs devices used for all manipulations of agents

2. PPE: Protective laboratory clothing, gloves, face, eye and respiratory protection, as needed
	BSL-2 plus:

1. Physical separation from access corridors

2. Self-closing, double-door access

3. Exhausted air not recirculated

4. autoclave must be available in facility

5. Negative airflow into laboratory

6. Entry through airlock or anteroom

7. Hand washing sink near laboratory exi

	4
	BSL-3 practices plus:

1. Clothing change before entering

2. Shower on exit

3. All material decontaminated on exit from facility
	Primary barriers: All procedures conducted in Class III BSCs or Class II BSCs in combination with full-body, air-supplied positive pressure suit
	BSL-3 plus:
1. Separate building or isolated zone

2. Dedicated supply and exhaust, vacuum, and decontamination systems


Appendix 8
Biosafety Levels Provisions for Animal Laboratory
	Items

ABSL
	Practices
	Primary Barriers and

Safety Equipment
	Facilities

(Secondary Barriers)

	1
	Standard animal care and management practices, including appropriate medical surveillance programs
	1. As required for normal care of each species；

2. PPE:laboratory coats and gloves; eye,face protection, as needed
	Standard animal facility：
1. No recirculation of exhaust air；

2. Directional air flow recommended；

3. Hand washing sink is available.

	2
	ABSL-1 practice plus：
1. Limited access；

2. Biohazard warning signs； 

3. “Sharps” precautions；

4. Biosafety manual；

5. Decontamination of all infectious wastes and animal cages prior to washing
	ABSL-1 equipment plus primary barriers：
1. Containment equipment appropriate for animal special； 
2. PPE:Laboratory coats, gloves, face, eye and respiratory protection, as needed
	ABSL-1 plus：
1. Autoclave available；

2. Hand washing sink available；
3. Mechanical cage washer recommended；

4. Negative airflow into animal and procedure rooms recommended

	3
	ABSL-2 practice plus：
1. Controlled access；

2. Decontamination of clothing before laundering；

3. Cages decontaminated before bedding is removed；

4. Disinfectant foot bath as needed
	ABSL-2 equipment plus：

1. Containment equipment for housing animals and cage dumping activities；
2. Class I, II or III BSCs available for manipulative procedures (inoculation, necropsy) that may create infectious aerosols；
3. PPE: Appropriate respiratory protection
	ABSL-2 facility plus：

1. Physical separation from access corridors；
2. Self-closing, double-door access；

3. Sealed penetrations；

4. Sealed windows；

5. Autoclave available in facility；

6. Entry through ante-room or airlock；

7. Negative airflow into animal and procedure rooms；

8. Hand washing sink near exit of animal or procedure room

	4
	ABSL-3 practices plus：

1. Entrance through change room where personal clothing is removed and laboratory clothing is put on; shower on exiting；

2. All wastes are decontaminated before removal from the facility
	ABSL-3 equipment plus：

Maximum ontainment equipment (i.e., Class III BSC or partial containment equipment in combination with full body, air-supplied positive-pressure suit) used for all procedures and activities
	ABSL-3 facility plus：

1. Separate building or isolated zone；

2. Dedicated supply and exhaust, vacuum, and decontamination systems. 


Appendix 9

Levels, Explanations, Reporting and Management of Biosafety Accidents
	Risk Level
	Explanation
	Reporting
	Examples
	Management

	High
	May extend to areas outside the laboratory or storage facility, may pose risks of infection or hazards to workers, personnel of other departments and people in the neighborhood. 
	1. The person concerned or the discoverer must immediately report to the director of the laboratory or storage facility, a written record should be kept for reference. 
2. The director of the laboratory or storage facility must immediately report to the biosafety committee (or  the biosafety staff) of the entities.
3. The entities must, within 24 hours, report to the local competent authority and the central competent authority. 
	1. Earthquake or flood causing leakage of infectious biological materials to areas outside the laboratory or storage facility. 
2. Workers, for inadequate handling or insufficient protection, infected without realizing, and bring pathogens out of the laboratory. 
	1. Management by the laboratory or storage facility biosafety emergency response plan of the entities.
2. Perform necessary management on suspected infected persons; provide medical treatment if they are confirmed by laboratory testing or observation of symptoms to have been infected.
3. The central competent authority shall overall command organizations concerned for collaboration. 
4. The entities shall report to the central competent authority the management of the accident and improvement measures. 

	Moderate
	Limited within the area of the laboratory or storage facility; there may be fear of infecting or injuring personnel of workers.
	1. The person concerned must report immediately to the director of the laboratory or storage facility; a written record should be kept for reference. 
2. The director of the laboratory or storage facility must report to the biosafety committee (or the biosafety staff) of the entities. 
3. The entities, if suspects of laboratory personnel being infected, must report to the local competent authority, copy to the central competent authority.
	1. When handling infectious biological materials in the biosafety cabinet, positive pressure is produced due to abnormality of exhaust fans, making infectious biological materials spread in the laboratory area.

2. Careless handling of infectious biological materials making them spatter on persons.

3. Drop on ground by accident when handling the infectious biological materials and spatter.
	1. Manage by the laboratory or storage facility biosafety emergency response plan of the entities.
2. Provide necessary management to persons suspected of infection; when infection is confirmed by laboratory testing or observation of symptoms, provide medical treatment. 
3. The competent authority may request the entities to report the management of infection in the laboratory or storage facility and improvement measures. 

	Low
	Limited within the containment equipment of the laboratory and poses less fear of infection or injuries to laboratory personnel. 
	The person concerned must report to the director of the laboratory; a written record must be kept for reference.
	1. When handling infectious biological materials in the biosafety cabinet, the materials leak or drop out.

2. While centrifuging, the centrifuge tubes break.
	Manage by the laboratory biosafety emergency response plan of the entities.


PAGE  
9

[image: image4.png]


[image: image5.png]


[image: image6.png]


